## MANUAL_109_dunloe_D02
| Instrument Name | DustTrak II
| Model Number | 8532
| Serial Number | 8532180101
| Firmware Version | 3.4
| Calibration Date | 2018-03-01
| Test Name | MANUAL_109
| Test Start Time | 17:49 | time wrong; +1hr
| Test Start Date | 25/04/2021
| Test Length [D:H:M] | 0:00
| Test Interval [M:S] | 0:10
| Mass Average [mg/m3] | 0.325
| Mass Minimum [mg/m3] | 0.101
| Mass Maximum [mg/m3] | 0.788
| Mass TWA [mg/m3] | 0.014
| Photometric User Cal | 0.38
| Flow User Cal | 0
Errors
| Number of Samples | 128
| LOCATION | Gap of Dunloe | 52.0195 | -9.63598
TIME | Elapsed Time [s] | Mass [mg/m3] | Alarms | Errors | avg | 0.32526
17:49 | 10 | 0.152
17:49 | 20 | 0.113
17:50 | 30 | 0.101
17:50 | 40 | 0.133
17:50 | 50 | 0.147
17:50 | 60 | 0.154
17:50 | 70 | 0.109
17:50 | 80 | 0.106
17:51 | 90 | 0.109
17:51 | 100 | 0.172
17:51 | 110 | 0.515
17:51 | 120 | 0.409
17:51 | 130 | 0.293
17:51 | 140 | 0.24
17:52 | 150 | 0.272
17:52 | 160 | 0.223
17:52 | 170 | 0.226
17:52 | 180 | 0.208
17:52 | 190 | 0.218
17:52 | 200 | 0.207
17:53 | 210 | 0.224
17:53 | 220 | 0.317
17:53 | 230 | 0.274
17:53 | 240 | 0.217
17:53 | 250 | 0.187
17:53 | 260 | 0.275
17:54 | 270 | 0.283
17:54 | 280 | 0.256
17:54 | 290 | 0.379
17:54 | 300 | 0.504
17:54 | 310 | 0.504
17:54 | 320 | 0.522
17:55 | 330 | 0.345
17:55 | 340 | 0.147
17:55 | 350 | 0.18
17:55 | 360 | 0.225
17:55 | 370 | 0.489
17:55 | 380 | 0.482
17:56 | 390 | 0.482
17:56 | 400 | 0.468
17:56 | 410 | 0.496
17:56 | 420 | 0.366
17:56 | 430 | 0.372
17:56 | 440 | 0.397
17:57 | 450 | 0.458
17:57 | 460 | 0.442
17:57 | 470 | 0.324
17:57 | 480 | 0.281
17:57 | 490 | 0.358
17:57 | 500 | 0.394
17:58 | 510 | 0.326
17:58 | 520 | 0.254
17:58 | 530 | 0.298
17:58 | 540 | 0.299
17:58 | 550 | 0.26
17:58 | 560 | 0.241
17:59 | 570 | 0.212
17:59 | 580 | 0.195
17:59 | 590 | 0.199
17:59 | 600 | 0.258
17:59 | 610 | 0.218
17:59 | 620 | 0.271
18:00 | 630 | 0.524
18:00 | 640 | 0.594
18:00 | 650 | 0.612
18:00 | 660 | 0.599
18:00 | 670 | 0.535
18:00 | 680 | 0.447
18:01 | 690 | 0.516
18:01 | 700 | 0.353
18:01 | 710 | 0.203
18:01 | 720 | 0.172
18:01 | 730 | 0.244
18:01 | 740 | 0.268
18:02 | 750 | 0.315
18:02 | 760 | 0.396
18:02 | 770 | 0.403
18:02 | 780 | 0.42
18:02 | 790 | 0.503
18:02 | 800 | 0.566
18:03 | 810 | 0.505
18:03 | 820 | 0.348
18:03 | 830 | 0.364
18:03 | 840 | 0.393
18:03 | 850 | 0.257
18:03 | 860 | 0.256
18:04 | 870 | 0.185
18:04 | 880 | 0.151
18:04 | 890 | 0.241
18:04 | 900 | 0.208
18:04 | 910 | 0.194
18:04 | 920 | 0.192
18:05 | 930 | 0.182
18:05 | 940 | 0.242
18:05 | 950 | 0.429
18:05 | 960 | 0.512
18:05 | 970 | 0.358
18:05 | 980 | 0.62
18:06 | 990 | 0.788
18:06 | 1000 | 0.76
18:06 | 1010 | 0.578
18:06 | 1020 | 0.545
18:06 | 1030 | 0.579
18:06 | 1040 | 0.505
18:07 | 1050 | 0.299
18:07 | 1060 | 0.274
18:07 | 1070 | 0.246
18:07 | 1080 | 0.25
18:07 | 1090 | 0.236
18:07 | 1100 | 0.243
18:08 | 1110 | 0.236
18:08 | 1120 | 0.319
18:08 | 1130 | 0.41
18:08 | 1140 | 0.522
18:08 | 1150 | 0.414
18:08 | 1160 | 0.371
18:09 | 1170 | 0.341
18:09 | 1180 | 0.389
18:09 | 1190 | 0.306
18:09 | 1200 | 0.242
18:09 | 1210 | 0.212
18:09 | 1220 | 0.212
18:10 | 1230 | 0.223
18:10 | 1240 | 0.229
18:10 | 1250 | 0.261
18:10 | 1260 | 0.188
18:10 | 1270 | 0.168
18:10 | 1280 | 0.194