## MANUAL_111
| Instrument Name | DustTrak II
| Model Number | 8532
| Serial Number | 8532180101
| Firmware Version | 3.4
| Calibration Date | 2018-03-01
| Test Name | MANUAL_111
| Test Start Time | 14:56
| Test Start Date | 2021-06-05
| Test Length [D:H:M] | 0:00
| Test Interval [M:S] | 0:10
| Mass Average [mg/m3] | 0.813
| Mass Minimum [mg/m3] | 0.01
| Mass Maximum [mg/m3] | 6.93
| Mass TWA [mg/m3] | 0.034
| Photometric User Cal | 0.38
| Flow User Cal | 0
Errors
| Number of Samples | 120
| LOCATION | near Supervalu Cobh | 51.8621 | -8.2947
TIME | Elapsed Time [s] | Mass [mg/m3] | Alarms | Errors | avg | 0.81318
14:57 | 10 | 1.22
14:57 | 20 | 1.24
14:57 | 30 | 1.31
14:57 | 40 | 1.32
14:57 | 50 | 0.727
14:58 | 60 | 0.474
14:58 | 70 | 0.278
14:58 | 80 | 0.239
14:58 | 90 | 0.207
14:58 | 100 | 0.224
14:58 | 110 | 0.299
14:58 | 120 | 0.265
14:59 | 130 | 0.234
14:59 | 140 | 0.093
14:59 | 150 | 0.152
14:59 | 160 | 0.194
14:59 | 170 | 0.469
15:00 | 180 | 0.21
15:00 | 190 | 0.084
15:00 | 200 | 0.096
15:00 | 210 | 0.083
15:00 | 220 | 0.111
15:00 | 230 | 0.059
15:00 | 240 | 0.03
15:01 | 250 | 0.036
15:01 | 260 | 0.035
15:01 | 270 | 0.034
15:01 | 280 | 0.06
15:01 | 290 | 0.149
15:01 | 300 | 0.515
15:02 | 310 | 0.429
15:02 | 320 | 0.313
15:02 | 330 | 0.091
15:02 | 340 | 0.061
15:02 | 350 | 0.118
15:02 | 360 | 0.112
15:03 | 370 | 0.313
15:03 | 380 | 0.415
15:03 | 390 | 0.25
15:03 | 400 | 0.218
15:03 | 410 | 0.274
15:03 | 420 | 0.099
15:04 | 430 | 0.087
15:04 | 440 | 0.475
15:04 | 450 | 0.897
15:04 | 460 | 1.14
15:04 | 470 | 0.95
15:04 | 480 | 0.957
15:05 | 490 | 0.647
15:05 | 500 | 1.06
15:05 | 510 | 0.658
15:05 | 520 | 1.14
15:05 | 530 | 1.66
15:05 | 540 | 0.695
15:06 | 550 | 0.488
15:06 | 560 | 1.27
15:06 | 570 | 1.89
15:06 | 580 | 0.662
15:06 | 590 | 1.32
15:06 | 600 | 1.93
15:07 | 610 | 0.897
15:07 | 620 | 1.47
15:07 | 630 | 0.843
15:07 | 640 | 0.581
15:07 | 650 | 2.3
15:07 | 660 | 4.92
15:08 | 670 | 6.93
15:08 | 680 | 3.27
15:08 | 690 | 2.36
15:08 | 700 | 1.51
15:08 | 710 | 1.7
15:08 | 720 | 1.15
15:09 | 730 | 2.12
15:09 | 740 | 2.14
15:09 | 750 | 1.14
15:09 | 760 | 2.04
15:09 | 770 | 2.36
15:09 | 780 | 3.01
15:10 | 790 | 3.56
15:10 | 800 | 1.75
15:10 | 810 | 1.99
15:10 | 820 | 3.65
15:10 | 830 | 4.05
15:10 | 840 | 1.01
15:11 | 850 | 0.376
15:11 | 860 | 0.28
15:11 | 870 | 0.291
15:11 | 880 | 0.224
15:11 | 890 | 0.047
15:11 | 900 | 0.021
15:12 | 910 | 0.019
15:12 | 920 | 0.026
15:12 | 930 | 0.018
15:12 | 940 | 0.011
15:12 | 950 | 0.01
15:12 | 960 | 0.01
15:13 | 970 | 0.011
15:13 | 980 | 0.039
15:13 | 990 | 0.115
15:13 | 1000 | 0.262
15:13 | 1010 | 0.411
15:13 | 1020 | 0.663
15:14 | 1030 | 0.573
15:14 | 1040 | 0.436
15:14 | 1050 | 0.358
15:14 | 1060 | 0.326
15:14 | 1070 | 0.405
15:14 | 1080 | 0.242
15:15 | 1090 | 0.317
15:15 | 1100 | 0.505
15:15 | 1110 | 1.16
15:15 | 1120 | 1.08
15:15 | 1130 | 0.512
15:15 | 1140 | 0.243
15:16 | 1150 | 0.149
15:16 | 1160 | 0.106
15:16 | 1170 | 0.112
15:16 | 1180 | 0.123
15:16 | 1190 | 0.115
15:16 | 1200 | 0.169