## MANUAL_112
| Instrument Name | DustTrak II
| Model Number | 8532
| Serial Number | 8532180101
| Firmware Version | 3.4
| Calibration Date | 2018-03-01
| Test Name | MANUAL_112
| Test Start Time | 15:17
| Test Start Date | 2021-06-05
| Test Length [D:H:M] | 0:00
| Test Interval [M:S] | 0:10
| Mass Average [mg/m3] | 0.131
| Mass Minimum [mg/m3] | 0.006
| Mass Maximum [mg/m3] | 2.71
| Mass TWA [mg/m3] | 0.004
| Photometric User Cal | 0.38
| Flow User Cal | 0
Errors
| Number of Samples | 96
| LOCATION | near Supervalu Cobh | 51.8621 | -8.2947
TIME | Elapsed Time [s] | Mass [mg/m3] | Alarms | Errors
15:17 | 10 | 0.237
15:17 | 20 | 0.136
15:17 | 30 | 0.149
15:17 | 40 | 0.201
15:17 | 50 | 0.244
15:18 | 60 | 0.686
15:18 | 70 | 1.39
15:18 | 80 | 0.154
15:18 | 90 | 1.35
15:18 | 100 | 2.71
15:18 | 110 | 2.28
15:19 | 120 | 1.2
15:19 | 130 | 0.799
15:19 | 140 | 0.099
15:19 | 150 | 0.061
15:19 | 160 | 0.038
15:19 | 170 | 0.028
15:20 | 180 | 0.058
15:20 | 190 | 0.066
15:20 | 200 | 0.037
15:20 | 210 | 0.01
15:20 | 220 | 0.012
15:20 | 230 | 0.009
15:21 | 240 | 0.006
15:21 | 250 | 0.009
15:21 | 260 | 0.024
15:21 | 270 | 0.018
15:21 | 280 | 0.008
15:21 | 290 | 0.006
15:22 | 300 | 0.006
15:22 | 310 | 0.011
15:22 | 320 | 0.01
15:22 | 330 | 0.008
15:22 | 340 | 0.009
15:22 | 350 | 0.007
15:23 | 360 | 0.007
15:23 | 370 | 0.008
15:23 | 380 | 0.022
15:23 | 390 | 0.014
15:23 | 400 | 0.043
15:23 | 410 | 0.014
15:24 | 420 | 0.012
15:24 | 430 | 0.01
15:24 | 440 | 0.009
15:24 | 450 | 0.008
15:24 | 460 | 0.008
15:24 | 470 | 0.008
15:25 | 480 | 0.008
15:25 | 490 | 0.007
15:25 | 500 | 0.006
15:25 | 510 | 0.006
15:25 | 520 | 0.006
15:25 | 530 | 0.006
15:26 | 540 | 0.007
15:26 | 550 | 0.007
15:26 | 560 | 0.007
15:26 | 570 | 0.006
15:26 | 580 | 0.007
15:26 | 590 | 0.007
15:27 | 600 | 0.006
15:27 | 610 | 0.006
15:27 | 620 | 0.006
15:27 | 630 | 0.006
15:27 | 640 | 0.006
15:27 | 650 | 0.007
15:28 | 660 | 0.006
15:28 | 670 | 0.006
15:28 | 680 | 0.011
15:28 | 690 | 0.007
15:28 | 700 | 0.006
15:28 | 710 | 0.006
15:29 | 720 | 0.006
15:29 | 730 | 0.006
15:29 | 740 | 0.006
15:29 | 750 | 0.006
15:29 | 760 | 0.006
15:29 | 770 | 0.007
15:30 | 780 | 0.006
15:30 | 790 | 0.006
15:30 | 800 | 0.006
15:30 | 810 | 0.006
15:30 | 820 | 0.006
15:30 | 830 | 0.008
15:31 | 840 | 0.007
15:31 | 850 | 0.006
15:31 | 860 | 0.006
15:31 | 870 | 0.006
15:31 | 880 | 0.006
15:31 | 890 | 0.006
15:32 | 900 | 0.006
15:32 | 910 | 0.008
15:32 | 920 | 0.007
15:32 | 930 | 0.006
15:32 | 940 | 0.006
15:32 | 950 | 0.006
15:33 | 960 | 0.006